TITLE:

Spin Saturation Transfer Difference NMR (SSTD NMR): a new tool to obtain kinetic parameters of chemical exchange processes

AUTHORS:

Quirós, M. Teresa,* Macdonald, Colin,* Angulo, Jesús,* and Muñoz, María Paz*

María Teresa Quirós

School of Chemistry

University of East Anglia

Norwich, UK

M.Quiros-Lopez@uea.ac.uk

Colin Macdonald

School of Chemistry and School of Pharmacy

University of East Anglia

Norwich, UK

c.macdonald@uea.ac.uk

Jesús Angulo

School of Pharmacy

University of East Anglia

Norwich, UK

J.Angulo@uea.ac.uk

María Paz Muñoz

School of Chemistry

University of East Anglia

Norwich, UK

m.munoz-herranz@uea.ac.uk

CORRESPONDING AUTHORS: María Teresa Quirós (M.Quiros-Lopez@uea.ac.uk); Colin Macdonald (c.macdonald@uea.ac.uk); Jesús Angulo (j.angulo@uea.ac.uk); María Paz Muñoz (m.munoz-herranz@uea.ac.uk).

KEYWORDS:

NMR, spin saturation transfer, saturation transfer difference, kinetics, chemical exchange, NOE, thermodynamic parameters, SSTD NMR

SHORT ABSTRACT:

A detailed protocol describing the SSTD NMR method is presented here to help new users apply this new method to obtain the kinetic parameters of their own systems undergoing chemical exchange.

LONG ABSTRACT:

This detailed protocol describes the new Spin Saturation Transfer Difference Nuclear Magnetic Resonance protocol (SSTD NMR), recently developed in our group to study processes of mutual-site chemical exchange that are difficult to analyze by traditional methods. As the name suggests, this method combines the Spin Saturation Transfer method used for small molecules, with the Saturation Transfer Difference (STD) NMR method employed for the study of protein-ligand interactions, by measuring transient spin saturation transfer along increasing saturation times (build-up curves) in small organic and organometallic molecules undergoing chemical exchange.

Advantages of this method over existing ones are: there is no need to reach coalescence of the exchanging signals; the method can be applied as long as one signal of the exchanging sites is isolated; there is no need to measure T1 or reach steady state saturation; rate constant values are measured directly, and T1 values are obtained in the same experiment, using only one set of experiments.

To test the method, we have studied the dynamics of the hindered rotation of N,N-dimethylamides, for which much data is available for comparison. The thermodynamic parameters obtained using SSTD are very similar to the reported ones (spin-saturation transfer techniques and line-shape analysis). The method can be applied to more challenging substrates that cannot be studied by previous methods.

We envisage that the simple experimental set up and the wide applicability of the method to a great variety of substrates will make this a common technique amongst organic and organometallic chemists without extensive expertise in NMR.

INTRODUCTION:

Chemical exchange commonly refers to any intermolecular or intramolecular process in which a nucleus moves from one environment to another in which its NMR parameters (chemical shift, scalar coupling, dipolar coupling, relaxation rate) differ. There are numerous examples of chemical exchange in organic and organometallic molecules (e.g. rotational barriers in biaryls, ring flipping barriers and conformational equilibrium, nitrogen inversion, ligand binding, degenerate ligand exchange and tautomerization).1-3 The chemical exchange rate is related to the thermodynamics of the barrier of the exchange process, and therefore its study is of crucial importance to understand molecular dynamics of these systems.

The classic sign of dynamic exchange in NMR is a dramatic change in the line-shape of the NMR signals as the temperature changes. At low temperatures, the process is slow and two distinct chemical shifts are observed. At high temperatures, the two signals merge into one signal, which is known as "coalescence". At intermediate temperatures, the signals become very broad. This sensitivity of the NMR spectrum to chemical exchange makes NMR a very powerful method to study the dynamics of molecules in solution. Two methods have been mainly employed in the study of dynamic processes in solution: line-shape analysis,4-7 and spin saturation transfer experiments.8-9 Besides, it is also worth mentioning the inversion transfer method10 and the CIFIT program11 for the direct extraction of rate constants, that are a relatively efficient approach for exchange measurements in simple systems. Although these methods give very good results in most cases, they, however, have a number of drawbacks. The main disadvantage of the line-shape analysis is the high temperatures needed to reach coalescence in some samples.12 The main issues to consider when carrying out spin saturation transfer experiments are: the very long saturation times required to reach the steady state saturation transfer between the exchanging sites, and the need to determine the longitudinal relaxation time constant, T1, which can be difficult if there is overlap of different signals in the region of study.13

As part of our investigations in organometallic mechanisms,14-16 our group is studying the fluxional behaviour of platinum-allene complexes in solution. This is a complex task that involves at least three different processes, one of them being the -face exchange or rotation of the metal around one of the allene axis. We encountered that normal VT experiments and line-shape analysis techniques that have been employed before in similar systems,17-19 were not suitable in our study, due to a very slow rotation in our platinum-allene complex that made the coalescence temperature of the signals of interest higher than the temperature of decomposition of the complex.

In order to overcome this limitation, we developed and recently reported a new NMR protocol (SSTD NMR) to study processes of mutual-site chemical exchange.20 As the name suggests this method combines the Spin Saturation Transfer method used for small molecules, with the Saturation Transfer Difference NMR method employed for the study of protein-ligand interactions,21-24 by measuring transient spin saturation transfer along increasing saturation times (build-up curves) in small molecules undergoing chemical exchange.

With this new method (SSTD NMR) we have shown that we can obtain the kinetic parameters of intramolecular chemical exchange in small organic and organometallic molecules with some additional advantages over traditional approaches: coalescence of the signals is not needed, so a more flexible temperature range can be used in the study; signal overlap does not interfere, although at least one of the exchanging resonances should be isolated; there is no need to measure T1 or reach steady state saturation; rate constant values are measured directly and T1 values are obtained in the same experiment, using only one set of experiments. Another remarkable advantage of the SSTD NMR methodology is that, in contrast to lineshape analysis, the determination of the kinetics rate constants are not limited by the increase in coalescence temperatures associated with high magnetic fields. Thus, our methodology is then very well appropriated for both low and high magnetic fields. This article is intended to help new users apply this new method to their own systems undergoing chemical exchange, and describes sample preparation, experimental set up, data acquisition, and an example of data processing and analysis in a simple organic molecule.

PROTOCOL:

Note: Caution: Please consult all relevant material safety data sheets (MSDS) before use.

1. NMR sample preparation

  - Weigh 5 mg of N,N-dimethylacetamide, add to an NMR tube appropriate for low temperatures and dissolve in 0.6 ml of toluene-d8.

- NMR experimental setup25

2.1) NOE spectra acquisition

2.1.1) Perform a one dimensional NOE (Nuclear Overhauser Effect) experiment.26

Note: NOE effects can happen at any temperature. A one dimensional NOE spectrum irradiating the signal that will be irradiated in the SSTD NMR experiment, was recorded at - 40 oC to make sure that the rotation and magnetization transfer in the sample used here was minimized, and therefore the NOE, if existent, would predominate and be measured in this experiment. Ideally, NOE effects between the two exchanging nuclei should not be present to avoid interferences with the SSTD method.

2.2) SSTD NMR experiments setup

2.2.1) Insert the sample in the magnet by first typing ej in the command line of the software to turn on the air flow. Then, put the sample on top of the magnet and then type ij. Wait until the sample is inside the magnet.

2.2.2) Once the sample is in the magnet, type edte in the command line. Change the temperature to the first selected temperature to carry out the experiment (295.5 K in this case). Let the sample stabilize at the chosen temperature for at least 20 min.

2.2.3) Perform a 1D 1H-NMR experiment on the sample.

2.2.3.1) Create a new dataset of a 1H-NMR experiment. For this click on FILE/NEW and name the new experiment.

2.2.3.2) Type sequentially and waiting for the previous command to finish: lock, atma, topshim, getprosol and rga.

2.2.3.3) Type zg to acquire the proton experiment. Once it is finished type efp and apk to Fourier transform it and adjust the phase.

2.2.4) Create a new dataset of, for example, a 1H NMR experiment. For this click on FILE/NEW and name the new experiment.

2.2.5) In this new dataset, type rpar in the command line. Select one of the “STDDIFF” pulse sequences from the list, for example STDDIFFESGP, and click “read” and then “read all” (Figure 1). Alternatively, do this by typing rpar STDDIFFESGP all.

Note: The experiment can be performed with this pulse sequence. However, the pulse program used in our experiment was STDDIFF.

2.2.6) To select the STDDIFF pulse sequence, click the button with three dots in the PULPROG line (Figure 2 and 3).

2.2.7) Before carrying out the SSTD NMR experiment, calibrate the 1H 90o hard pulse (p1). For this purpose, ensure that the sample is in the magnet at the desired temperature (Step 2.2.2). Type pulsecal in the command line and copy the value of the 90 o pulse at the higher power (- 1 dB in this case), i.e. the one that gives the shortest pulse (Figure 4).

2.2.8) Introduce the values for the calibrated hard pulse in the experiment. Type getprosol 1H (Value for p1 obtained in step 2.2.7) - 1.0 (Figure 5).

2.2.9) Set the length of the shaped pulse. Type p13 and introduce a value of 50000 µsec (Figure 6).

2.2.10) Set the selective pulse shape. To do this, go to Power and click the “Edit…” button next to SHAPE (Figure 7). Go to the shaped pulse 13 and choose: Gaus 1.1000 (Figure 8).

2.2.11) Set the selective pulse power (SP13). Set it to something appropriate i.e., on this system between 40-60 dB (corresponding to a field strength of approximately 120 Hz) (Figure 8). Excessive field strengths can lead to unacceptable saturation effects.27-29

Note: 50 dB was optimum in our case. Take into account that this is an attenuation scale, so the smaller the value the higher the power of the radiofrequency. As it corresponds to the saturating Gaussian cascade, which is applied for long time (several seconds), sp13 should not go below 40 dB (if needed, consult the instrument specifications, as long pulses at high power could damage the probehead). In our experience 41-61 dB above the attenuation of the hard 1H 90 o pulse (- 1 dB in this work) works fine. Try to always select the highest attenuation possible leading to similar saturation level.

2.2.12) Type ns and set it to 8 and type ds and set it to 4.

3. NMR data acquisition and processing25

3.1) SSTD NMR experiment acquisition

3.1.1) Open the 1H NMR experiment performed in step 2.2.3 to check where the signal that will be irradiated is. For this, search the experiment in the software browser, right click in the dataset and click “Display in a new window”.

3.1.2) Move the cursor line to the center of the signal to irradiate and write down the chemical shift in ppm. Select the spectral width that will be used in the experiment.

Note: In this case, the signal which will be irradiated is at 2.17 ppm, and the spectral width used was 1.46 ppm. Ensure that no chemical shift correction is used or the irradiation frequency can be set incorrectly.

3.1.3) Go to the previously created SSTD NMR experiment with the setup mentioned in section 2.2.

3.1.4) Create a list with the frequencies of irradiation. For this, type fq2list in the command line and select an existing list.

3.1.5) Edit the list of irradiation frequencies including the following data in the 3 first rows (Figure 9): Row 1. P (indicates that the following data is in ppm); Row 2. Frequency of the signal to be irradiated in ppm, as measured in 3.1.1; Row 3. 40 ppm (a frequency that is far from the 1H signals of the compound so the irradiation in that frequency does not affect the spectra).

3.1.6) Save the list with a new name and then type fq2list in the command line and select the list just created.

3.1.7) To center the experiment on the signals under study, type o1p and select as the center of the experiment the chemical shift of the signal that will be irradiated.

3.1.8) Type sw to select the spectral width (1.46 ppm in this case, but any other spectral width can be chosen).

Note: If the acquisition time obtained after changing the spectral width is too long (which will introduce more noise in the spectra) it can be adjusted by typing AQ to provide the desired Free Induction Decay (FID) resolution (FIDRES, 0.25 Hz in this case).

3.1.9) Choose the value for the interscan relaxation delay D1. Ensure that it is at least 1 to 5 times the value of the T1 of the slowest relaxing proton.

Note: We set it up to 40 sec, which is the longest saturation time (D20) in the experiment. In this way all of the experiments will keep the same total “per scan” time (delay+saturation time+pulses+acquisition time).

3.1.10) Type D1 and set it to 40 sec.

3.1.11) Set the first value for the saturation time by typing D20 and setting it to 40 sec. Determine the receiver gain (rg) automatically by typing rga.

3.1.12) Create the next experiment by typing iexpno. Type D20 and select a saturation time of 20 sec in this experiment. Type rga to automatically determine rg.

3.1.13) Repeat the last step for D20 = 10, 5, 2.5, 1.25, 0.625, 0.3 sec.

3.1.14) Once all the experiments are created, open the first one and in the command line type multizg and specify the number of experiments, 8 in this case (i.e. multizg 8).

3.2) SSTD NMR experiment processing

3.2.1) Open the PROCNO 1 (Process Number) from EXPNO 1 (Experiment Number) of the set (the one with the higher saturation time).

3.2.2) In the command line type lb and set the value to 1.5.

Note: For spectra with very high signal-to-noise ratios this value could be decreased; inversely, it could be increased for noisy experiments, if the spectral resolution is not severely affected.

3.2.3) In the command line type efp and process FID # = 1 (“on-resonance” spectrum) in PROCNO = 2 (Figure 10).

3.2.4) Correct the phase of the experiment by clicking the Interactive phase correction button and save it as a 2D experiment. Save and exit (Figure 11).

3.2.5) Type rep 1 in the command line to go to the PROCNO 1.

3.2.6) In the command line type efp and process FID # = 2 (“off-resonance” spectrum) in PROCNO = 3 (Figure 12).

3.2.7) In the command line type .md and then rep 2 to show a multiple display window with both processed spectra: 2 (the one with the signal in the middle saturated) and 3 (the one in which the saturating pulse train was applied at 40 ppm) (Figure 13).

3.2.8) Click the button with a delta sign (Figure 13) to calculate the difference spectra and save it in PROCNO 4. Exit the multiple display window.

3.2.9) Select an integration range for the signal on the left (the signal in which the transfer of saturation due to the chemical exchange process will be observed). Always integrate the same region in PROCNO 3 and PROCNO 4.

Note: The integration range used in this experiment was 2.55 - 2.67 ppm.

3.2.10) Once integrated, go to the “Integrals” tab in each of the experiments and copy the value of “Integral [abs]” (Figure 14).

3.2.11) Divide the integral in PROCNO 4 by the integral in PROCNO 3. That is the value of ηSSTD for a saturation time of 40 sec (ηSSTD = Spin Saturation Transfer Difference parameter).21

3.2.12) Repeat the procedure for the rest of the experiments with different saturation times.

4. Data analysis30

4.1) Analysis of the data to get the kinetic parameters

4.1.1) Plot the obtained ηSSTD values versus the saturation time.21

4.1.2) Perform an exponential fit to adjust the obtained curves to the equation

ηSSTD=ηSSTDMAX(1-exp-δ·t)

δ=dynamic constant

ηSSTDMAX = ηSSTD at very long saturation time

t = time

4.1.3) Calculate the values of ηSSTDMAX and δ and use them to calculate the values of the rate constants (k) and relaxation times (T1A) according to the following equations:

ηSSTDMAX=k(1T1A+k)      and      δ=1T1A+k

T1A = longitudinal relaxation time constant of spin A

k = mutual-site exchange kinetic rate constant

4.1.3.1) Obtain the kinetic rate constant by:	 k=ηSSTDMAX·δ

4.2) Eyring plot to get the thermodynamic parameters

4.2.1) Plot ln(k/T) versus 1/T (T = absolute temperature), using the values of the kinetic rates at different temperatures.

4.2.2) Perform a linear fit to adjust the data obtained to the Eyring equation:

lnkT=lnkBh-∆H‡RT+∆S‡R

∆H‡=entalphy of activation

∆S‡=entropy of activation

h=Plank's constant

R = gas constant

kB = Boltzman constant

T = absolute temperature

4.2.3) Calculate the thermodynamic parameters ΔH≠ and ΔS≠.

4.2.4) Calculate the values for EA(298) and ΔG≠(298) using the following equations:

EA(298)=∆H≠+RT

AG(298)≠=∆H≠-T∆S≠

EA298=Activation Energy at 298 K

AG(298)≠=Gibbs Energy at 298 K

REPRESENTATIVE RESULTS:

The SSTD NMR technique was applied for the calculation of the kinetic parameters in the rotation of the amide bond of N,N-dimethyl acetamide.21 This is a simple example for which extensive data for comparison can be found in the literature.31

The hindered rotation around the amide bond, due to the partial double bond character in the resonance form, differentiates both methyl groups into two signals in the 1H-NMR spectra (2.61 and 2.17 ppm at 22.5 oC). Spin saturation of the signal of the methyl group at 2.17 ppm (MeB) leads to the disappearance of its signal in the 1H NMR. Upon saturation of MeB, transfer of saturation to the other methyl group (MeA) due to the internal rotation process can be observed by a decrease in 1H intensity in the signal at 2.61 ppm. The magnitude of this decrease will depend on the saturation time. Figure 15 shows the 1H NMR spectra of the N,N-dimethylacetamide at 22.5 oC, and the expansions show the spectra without (a) and with (b) saturation of the methyl group at 2.17 ppm, as well as the difference spectrum (c), used to calculate the values of ηSSTD. The ηSSTD factor is calculated dividing the value of the integral of MeB in the SSTD NMR spectrum (c) by the value of the integral of the MeB in spectra (a), as explained in the protocol. The obtained values of ηSSTD for each saturation time at different temperatures are gathered in Table 1. The plot of the obtained values of ηSSTD versus the saturation time gave exponential curves in which a plateau was reached at higher saturation times. For a certain temperature, the exponential fit of the curve permits the calculation of the rate constant (k) and the relaxation time of the 1H of the measured signal (T1A) (Figure 16). Figure 17 shows all the obtained curves along with the k and T1A values obtained in the fits.

Finally, the plot of ln(k/T) versus 1/T and the fit to the Eyring equation (Figure 18) were used to calculate the enthalpy and entropy of activation. The determined activation parameters are shown in Table 2, together with the previously reported parameters calculated using different methodologies.

As can be observed in Table 2, the values of the activation parameters obtained with the Spin Saturation Transfer Difference technique (SSTD NMR) are in excellent agreement with the data previously reported using other techniques, such as SST NMR or line shape analysis. The wide range of values reported for ΔS‡ is due to the difficulty in the measurement of this parameter with NMR techniques.31 As for the rest of the activation parameters, the values obtained with our method are not only really similar to the ones already reported but also more accurate, since our errors (SD) are smaller in all the cases.

Figure Legends:

Figure 1: List of experiments after typing rpar. The figure shows the different parameter sets among which STDDIFFESGP should be selected.

Figure 2: Acquisition parameters. The button highlighted in a red square leads to a list of the different pulse programs.

Figure 3: List of pulse programs. The figure shows the selected pulse program in the experiment (STDDIFF).

Figure 4: Pop-up window appeared after the 90o pulse calibration. The figure shows the values of the calibrated 90o pulse at different power levels.

Figure 5: Screenshot of the command line. The figure shows how to introduce the value for the calibrated hard pulse.

Figure 6: Value for the length of the shaped pulse. The figure shows how to introduce the value for the length of the shaped pulse.

Figure 7: Acquisition parameters. The figure shows the power parameters.

Figure 8: Parameters for the shaped pulse. The values for the shaped pulse will be introduced in line 13.

Figure 9: List of irradiation frequencies. The figure includes the following data in the 3 first rows: Row 1. P (indicates that the following data is in ppm); Row 2. Frequency of the signal to be irradiated in ppm, as measured in 3.1.1; Row 3. 40 ppm (a frequency that is far from the 1H signals of the compound so the irradiation in that frequency does not affect the spectra).

Figure 10: Processing of the first FID. The figure shows the pop up window that appears after typing efp.

Figure 11: Phase correction. Screenshot showing the window for the manual phase correction.

Figure 12: Processing of the second FID. The figure shows the pop up window that appears after typing efp.

Figure 13: Multiple display of spectra 2 and 3. The button highlighted in a red square is the one to calculate the difference spectra.

Figure 14: Integrals tab. The figure shows the values of the absolute and relative integrals.

Figure 15: Structure and 1H NMR spectra of N,N-dimethylacetamide at 22.5 oC in toluene-d8. (a) 1H NMR expansion of the region from 2.13 to 2.66 ppm before irradiation. (b) Expansion of the same region after irradiation of the methyl group at 2.17 ppm. (c) Difference spectrum [(a)-(b)].

Figure 16: Example of the plot of ηSSTD and its exponential fit at 278 K. Reproduced from the supporting information of Ref. 21 with permission from the Royal Society of Chemistry.

Figure 17: Plots of ηSSTD vs. saturation time at different temperatures. The figure shows the plot for N,N-dimethylacetamide and  the table with the obtained rates constants and relaxation times.

Figure 18: Eyring plot. The figure shows the plot for N,N-dimethylacetamide.

Table 1: Values of ηSSTD. The table shows the values obtained at different saturation times for N,N-dimethylacetamide in the range of temperatures 278 - 295.5 K.

Table 2: Activation parameters. The table shows the activation parameters for the internal rotation of N,N-dimethylacetamide obtained by the SSTD NMR method compared with the same parameters obtained using different NMR methods for analysis.4, 5, 6 Errors in this table refer to standard deviation errors (SD). (Reproduced from Ref. 21 with permission from the Royal Society of Chemistry).

DISCUSSION:

One of the more obvious advantages of this methodology is that the rate constants and the relaxation time for a given temperature can be obtained with a single set of experiments, with a robust pulse sequence (the same used for STD experiments to study protein-ligand interactions, which is typically found within the available set of experiments from the spectrometer manufacturer). This simplifies the experimental setup since there is no need to measure T1 or reach steady state saturation. Besides, it is remarkable that this method does not depend on the magnet strength, as coalescence methods. On the other hand, the main limitation is that this technique cannot be applied to chemical exchange processes too fast or too slow, which would depend on the temperature range of the NMR machine or the solvents used.

This new technique for the calculation of kinetic parameters can be applied to a great variety of substrates and its applicability has already been demonstrated with some interesting molecules.21 The kinetic parameters of the 4-N,N-dimethylamido[2.2]paracyclophane, a challenging substrate in which the signal of one of the methyl groups of interest is overlapped with other signals from the molecule, were successfully calculated using SSTD NMR. Interestingly, this methodology can be applied as long as one of the signals of study is isolated. SSTD NMR is also a useful protocol for the calculation of kinetic parameters in molecules in which the coalescence temperature is so high that the molecule decomposes before reaching it. This is the case with PtCl2(dimethylallene)(pyridine), in which the methodology was successfully applied without the need of reaching coalescence. The choice of solvents and temperatures is critical to obtain good results, since the chemical exchange rates can vary significantly with these parameters. Moreover, in addition to the criteria in a normal NMR experiment, key steps in a SSTD NMR experiment are the selectivity of the irradiation as well as the temperature control. Both factors have to be precise to guarantee the success of the experiment.

The representative results presented here are for the kinetics of intramolecular chemical exchange, but the technique can also be applied to study the kinetics of intermolecular chemical exchange and also ligand exchange, common processes in the dynamic behavior of transition metal complexes.

Finally, providing a proper modification of the equations is made,32 this method could be extended to deal with multi-site exchange and unequal populations, as it has been done in former double resonance experiments,8-9 increasing the usefulness of this technique for the study of chemical exchange processes in challenging compounds.

ACKNOWLEDGEMENTS:

Funding by the University of East Anglia, the EPSRC (EP/L012855/1) and the EU (H2020-MSCA-IF-2014-EF-ST-658172) is gratefully acknowledged (MTQ).

DISCLOSURES:

The authors declare that they have no competing financial interests.

REFERENCES

- Bain, A. D. Chemical Exchange in NMR. Prog. Nuc. Mag. Res. Spect. 43, 63-103, doi: 10.1016/j.pnmrs.2003.08.001 (2003).

- Bain, A. D. Chemical Exchange. Modern Magnetic Resonance. 421-427, doi: 10.1007/1-4020-3910-7_52 (2006).

- Bain, A. D. Chapter 2 - Chemical Exchange. Ann. Rep. NMR Spect. 63, 23-48, doi: 10.1016/S0066-4103(07)63002-6: (2008).

- Reeves, L., Shaddick, R., Shaw, K. Nuclear Magnetic Resonance Studies of Multi-site Chemical Exchange. III. Hindered Rotation in Dimethylacetamide, Dimethyl Trifluoro-acetamide, and Dimethyl Benzamide. Can. J. Chem. 49, 3683-3691, doi: 10.1139/v71-615 (1971).

- Drakenberg, T., Dahlqvist, K., Forsen, S. Barrier to Internal Rotation in Amides. IV. N,N-Dimethylamides. Substituent and Solvent Effects. J. Phys. Chem. 76, 2178-2183, doi: 10.1021/j100659a020 (1972).

- Fujiwara, F., Airoldi C. Carbon-13 NMR Study of the Barrier to Internal Rotation of N,N-Dimethylacetamide in the Adduct with Antimony(III) Chloride. J. Phys. Chem. 88, 1640-1642, doi: 10.1021/j150652a040 (1984).

- Gutowsky, H. S., Holm, C. H. Rate Processes and Nuclear Magnetic Resonance Spectra. II. Hindered Internal Rotation of Amides. J. Chem. Phys. 25, 1228-1234, doi: 10.1063/1.1743184 (1956).

- Forsen, S., Hoffman, R. A. A New Method for the Study of Moderately Rapid Chemical Exchange Rates Employing Nuclear Magnetic Double Resonance. Acta Chem. Scand. 17, 1787-1788, doi: 10.3891/acta.chem.scand.17-1787 (1963).

- Forsen, S., Hoffman, R. A. Study of Moderately Rapid Chemical Exchange Reactions by Means of Nuclear Magnetic Double Resonance. J. Chem. Phys. 39, 2892-2901, doi: 10.1063/1.1734121 (1963).

- Williams, T. J., Kershaw, A. D., Li, V., Wu, X., An Inversion Recovery NMR Kinetics Experiment. J. Chem. Educ. 88, 665-669, doi: 10.1021/ed1006822 (2011).

- Bain, A. D., Cramer, J. A., Slow Chemical Exchange in an Eight-Coordinated Bicentered Ruthenium Complex Studied by One-Dimensional Methods. Data Fitting and Error Analysis. J. Magn. Res., Series A 118, 21-27, doi: 10.1006/jmra.1996.0004 (1996).

- Sandstrom, J., Dynamic NMR Spectroscopy. Academic: New York, ISBN: 0126186200 9780126186208 (1982).

- Castanar, L., Nolis, P., Virgili, A., Parella T., Measurement of T1/T2 Relaxation Times in Overlapped Regions from Homodecoupled 1H Singlet Signals. J. Magn. Reson. 244, 30-35. doi:10.1016/j.jmr.2014.04.003 (2014).

- Muñoz, M. P., de la Torre, M. C., Sierra, M. A. New Platinum-Catalysed Dihydroalkoxylation of Allenes. Adv. Synth. Catal. 352, 2189-2194 doi: 10.1002/adsc.201000342 (2010).

- Muñoz, M. P., de la Torre, M. C., Sierra, M. A. Platinum-Catalysed Bisindolylation of Allenes: A Complementary Alternative to Gold Catalysis. Chem. Eur. J. 18, 4499-4504, doi: 10.1002/chem.201103337 (2012).

- Hurtado-Rodrigo, C., Hoehne, S., Muñoz, M. P. A New Gold-Catalysed Azidation of Allenes. Chem. Comm. 50, 1494-1496, doi: 10.1039/C3CC48017H (2014).

- Vrieze, K., Volger, H. C., Gronert, M., Praat, A. P. Intramolecular Rearrangements in Platinum--Tetramethylallene Compounds as Influenced by Ligands Trans to the Allene Group. J. Organometal. Chem. 16, P19-P22, doi:10.1016/S0022-328X(00)81095-5 (1969).

- Vrieze, K., Volger, H.C., Praat, A. P. Complexes of Allenes with Platinum (II) and Rhodium (I). J. Organometal. Chem. 21, 467-475, doi:10.1016/S0022-328X(00)83648-7 (1970).

- Brown, T. J., Sugie, A., Leed, M. G. D., Widenhoefer R. A. Structures and Dynamic Solution Behavior of Cationic, Two-Coordinate Gold(I)–π-Allene Complexes. Chem. Eur. J. 18, 6959-6971, doi: 10.1002/chem.201103289 (2012).

- Yang, W., Hashmi, S. K. Mechanistic Insights into the Gold Chemistry of Allenes. Chem. Soc. Rev., 43, 2941-2955, doi: 10.1039/C3CS60441A (2014).

- Quiros, M. T., Angulo, J., Munoz, M. P. Kinetics of Intramolecular Chemical Exchange by Initial Growth Rates of Spin Saturation Transfer Difference Experiments (SSTD NMR). Chem. Commun. 51, 10222-10225, doi: 10.1039/C5CC02941D (2015).

- Mayer, M., Meyer, B. Characterization of Ligand Binding by Saturation Transfer Difference NMR Spectroscopy. Ang. Chem. Int. Ed. 38, 1784-1788, doi: 10.1002/(SICI)1521-3773(19990614)38:12<1784::AID-ANIE1784>3.0.CO;2-Q (1999).

- Angulo, J., Nieto, P. STD-NMR: Application to Transient Interactions Between Biomolecules - A Quantitative Approach. Eur. Biophys. J. 40, 1357-1369, doi 10.1007/s00249-011-0749-5 (2011).

- Kemper, S., Patel, M. K., Errey, J. C., Davis, B. G., Jones, J. A., Claridge T. D. W. Group Epitope Mapping Considering Relaxation of the Ligand (GEM-CRL): Including Longitudinal Relaxation Rates in the Analysis of Saturation Transfer Difference (STD) Experiments. J. Magn. Reson. 203, 1-10, doi:10.1016/j.jmr.2009.11.015 (2010).

- TopSpin program, Bruker Corp., http://www.bruker.com/products/mr/nmr/nmr-software/software/topspin/ (2015).

- Berger, S., Braun, S. 200 and More NMR Experiments: A Practical Course. Wiley, ISBN: 978-3-527-31067-8 (2004).

- Cutting, B, Shelke, S. V., Dragic, Z., Wagner, B., Gathje, H., Kelm, S., Ernst, B. Sensitivity Enhancement in Saturation Transfer Difference (STD) Experiments Through Optimized Excitation Schemes. Magn Reson Chem.  45, 720–724, doi: 10.1002/mrc.2033 (2007).

- Ley, N.B., Rowe, M.L., Williamson, R. A., Howard, M. J. Optimising Selective Excitation Pulses To Maximize Saturation Transfer Difference NMR Spectroscopy. RSC Adv. 4, 7347-7351, doi: 10.1039/c3ra46246c (2014).

- Antanasijevic, A., Ramirez, B., Caffrey, M.  Comparison of the Sensitivities of WaterLOGSY and Saturation Transfer Difference NMR Experiments. J. Biomol. NMR. 60(1), 37-44, doi: 10.1007/s10858-014-9848-9 (2014).

- Origin 6.0 software, OriginLab Corp., http://originlab.com.

- Jarek, R. L., Flesher, R. J., Shin S. K. Kinetics of Internal Rotation of N,N-Dimethylacetamide: A Spin-Saturation Transfer Experiment. J. Chem. Ed. 74, 978-982, doi: 10.1021/ed074p978 (1997).

- Forsen, S., Hoffman, R. A. Exchange Rates by Nuclear Magnetic Multiple Resonance. III. Exchange Reactions in Systems with Several Nonequivalent Sites. J. Chem. Phys. 40, 1189-1196, doi: 10.1063/1.1725295 (1964).